## MV145 Display
Display Flowmeter
Order Code : MV145 - |  | B0B2F5B0B0D6A
B | Display | Graphic LCD
0 | Housing material | Nylon PA6 fiberglass
B | Version / protection | Separate version for wall mounting with aluminium mounting accessories, IP67, CO15/16 cable max 20 m
2 | Main Power Supply | 12..48 VDC
F | Batteries | Boards set for alkaline (slot 3)
5 | Analog I/O | Analog Output (4/20mA)
B | Digital I/O | N 2 ON/OFF output
0 | Comm Gateway | without gateway
B | Data logger | Data logger + RTC + BIV
0 | Special feature | none
D | Connector Power | Power + Separate version
6 | Connector IO | Dig IO + Out 4-20
A | MID Approval | none

## MS3810 Sensor
Sensor Flowmeter
Order Code MS3810 - |  | 3A4A0G
3 | Piping Dia | max insert 700mm
A | Sensor material | Sensor AISI316, Electrode Hastelloy
4 | Mounting acc | Acc kit 1" hose coupling, 1 ball valve, all conn 1" NPT
A | Suitable for pipe size | > 150mm
0 | Nr and elect material | Standard
G | Electrode version | Separate version, IP68, fast cable connection